## Slide 1: Enterprise Systems
Last Week we had completed talking about TPS – Transactional Processing Systems
We were about to start talking about the Network Operating Systems
  and thin and thick clients
This week we will cover
  Enterprise architecture frameworks
  Enterprise architecture as a supply chain
  Some more enterprise systems
  Data centers

## Slide 2: Thick vs. Thin client Net Operating Systems

## Slide 3: 2 Tier PAD (packet assembler/disassembler) Architecture
Presentation
Application
Data
Fat Client
Server
Notes: Short for packet assembler/disassembler PAD is a device (hardware or software) used in packet switching to enable data terminal equipment (DTE) not equipped for packet switching to access a packet-switched network.

## Slide 4: Start withPAD Model – 2 Tier
Presentation
Application
Data
Thin Client
Server
PAD (packet assembler/disassembler) Model – 3 Tier
Server
Server
Notes: packet assembler/disassembler

## Slide 5: PAD (packet assembler/disassembler) Model – n Tier
Presentation
Application
Data
Thin Client
Servers
Servers

## Slide 6: Underlying Technologies
LANs
  Usually a thin client
  Access to the servers housing the Business Rules of the Transaction Processing System (TPS)
  Always a large Database server
    Older models this is a single DB
WANs
  Client is similar
  Business Rules (application) is distributed (there is often a middleware component as well)
  DB is distributed

## Slide 7: Readings from this last week (Did you read these?)
Because IT systems have become
unmanageably complex
increasingly costly to maintain
because they are mission critical…
Enterprise architecture methods help in reducing IT cost and complexity, while increasing business value and effectiveness

## Slide 8: Enterprise Architecture Methods
We will talk about two
So, what did you learn about the Zachman Framework ?
  Please Explain
What about the Open Group Architectural Framework ?
  Please Explain
There are 4 Enterprise Architecture Methods
  The Zachman Framework
  TOGAF (The Open Group Architectural Framework)
  The Federal Enterprise Architecture
  The Gartner/Meta Methodology

## Slide 9: Enterprise Architecture
The field of enterprise architecture essentially started in 1987, with the publication in the IBM Systems Journal of an article titled "A Framework for Information Systems Architecture," by J.A. Zachman
Enterprise Architecture sought to address
  System complexity where organizations were spending more and more money building IT systems
  Poor business alignment where organizations were finding it more and more difficult to keep increasingly expensive IT systems aligned with business need.

## Slide 10: Zachman Framework
The Zachman framework is a logical structure intended to provide a comprehensive representation of an information technology enterprise.
Although self-described as a framework, is actually more accurately defined as a taxonomy
  It deals with each meeting point between a player's perspective (for example, business owner) and a descriptive focus (for example, data.)
Zachman framework is an Ontology - A specification of conceptualization
In information technology, an ontology is the working model of entities and interactions in some particular domain of knowledge or practices, such as electronic commerce or "the activity of planning.“
Each player needs to know the what, how, where, who when and why but each focus is thought of differently by different players.

## Slide 11: Zachman Framework
Notes: As we move horizontally (for example, left to right) in the grid, we see different descriptions of the system—all from the same player's perspective.
As we move vertically in the grid (for example, top to bottom), we see a single focus, but change the player from whose perspective we are viewing that focus

## Slide 12: Zachman Framework
Notes: Zachman Framework is an Ontology –A Sp

## Slide 13: TOGAF The Open Group Architectural Framework
Although called a framework, is actually more accurately defined as a process.
TOGAF is an Architecture Development Method
Zachman tells you how to categorize your artifacts.
TOGAF complements Zachman and gives you a process for creating them.
Notes: The Open Group Architectural Framework

## Slide 14: Enterprise Architecture (as a supply chain)

## Slide 15: Michael Porter*put all this together in:
Porter’s Value Chain Model
(Understanding How Value is Created Within Organizations)
*Michael Porter a leading authority on competitive strategy and the competitiveness and economic development of nations, states, and regions. Professor at The Institute for Strategy and Competitiveness, based at the Harvard Business School. http://www.isc.hbs.edu/Pages/default.aspx
Notes: Michael Porter is a leading authority on competitive strategy and the competitiveness and economic development of nations, states, and regions.

## Slide 16
Inbound
Logistics
Operations
Marketing
& Sales
Outbound
Logistics
Technology and Product Development
Service
Firm Infrastructure
Procurement
Human Resources
Profit
Notes: Inbound Logistics: the receiving and warehousing of raw materials, and their distribution to manufacturing. Refers to the transport, storage and delivery of goods coming into a business.
Outbound logistics refers to the transport, storage and delivery of goods going out of a business.

## Slide 17
Supply Chain Management
Inbound
Logistics
Operations
Marketing
& Sales
Outbound
Logistics
Technology and Product Development
Service
Firm Infrastructure
Procurement
Human Resources
Profit
Procurement
Notes: Supply Chain Management

## Slide 18: Supply Chain Model is the oversight of materials, information, and finances as they move in a process from supplier to manufacturer to wholesaler to retailer to consumer.

## Slide 19: Supply chain management flows can be divided into three main flows:
The product flow
The information flow
The financial flow
Supply Chain Systems track all three
The product flow includes the movement of goods from a supplier to a customer, as well as any customer returns or service needs.
The information flow involves transmitting orders and updating the status of delivery.
The financial flow consists of credit terms, payment schedules, and consignment and title ownership arrangements.

## Slide 20
Customer Relationship Management
Inbound
Logistics
Operations
Outbound
Logistics
Marketing
& Sales
Service
Technology and Product Development
Firm Infrastructure
Procurement
Human Resources
Profit
Procurement
In the Supply Chain Model what is considered
CRM?
Notes: CRM

## Slide 21: What is the goal of CRM?
To gain insight into the behavior of customers and the value of those customers.
An effective CRM strategy will increase revenues by:
  providing services and products that are exactly what customers want
  Provide better customer service
  cross sell products more effectively
  help sales staff close deals faster
  retain existing customers and discover new ones
Notes: CRM goal is better service, more effective sales, retention of customers, discovery of new customers.

## Slide 22
Inbound
Logistics
Operations
Outbound
Logistics
Marketing
& Sales
Service
Technology and Product Development
Firm Infrastructure
Procurement
Human Resources
Profit
Enterprise Resource Planning
System

## Slide 23: Enterprise Resource Planning defined
A business management system that integrates all facets of the business.
This includes:
  planning
  manufacturing
  sales
  marketing.

## Slide 24: There are five major reasons why companies undertake ERP.
Integrate financial information
Integrate customer order information
Standardize and speed up manufacturing processes
Reduce inventory
Standardize HR information
Depaul has an ERP system. What is it called?
Notes: ERP systems are the hardest to build.

## Slide 25: Other important systems
Decision Support System
A computer application that analyzes business data and presents it so that users can make business decisions more easily.

## Slide 26: Type of DSS
Expert Systems
Decision Analytic Systems
Executive Information Systems
Group Support Systems

## Slide 27: Other important systems
Unified Communications System
Integrates real-time communication services with non-real-times services. Provides a single point of contact for communicators and a single data repository for communication artifacts.

## Slide 28: Cisco, Microsoft, and others have UC products

## Slide 29: IPT (IP Telephony) or VoIP (Voice over IP)?
VoIP is a component of IP Telephony.
IP telephony solutions look to provide the exact same services as a public switch telephone network (PSTN) or internal business telephone network, using internet technologies instead of traditional analog lines.
©Cisco 2001
*IPT = IP Telephony

## Slide 30: Other important systems
Portals and Intranets
.
An intranet portal is a central location for information and applications within an organization, presented in an electronic format

## Slide 31: Intranets and Portals
Both Campus Connection and MyCDM are examples of Intranet Portals
Actually, CampusConnection is an ERP system with a Portal front end
Actually, MyCDM is a CRM system that also serves as a portal to other information

## Slide 32: Lots of kinds of systems in the modern enterprise
Many of them are migrating to the cloud

## Slide 33: Further, there are significant complementary architectural changes occurring as well
MVC Architecture
Middleware Platforms
Open Source
*I’m talking about this here so you will have some background on what we are doing with WordPress

## Slide 34: Model View Controller What it is, and why it is important
Separates
  Database
  Skin Design
  Programming
Software architectural design pattern for developing web applications

## Slide 35: Model View Controller What it is, and why it is important
The Model – or a connector that stores information of each single table of a database. The model also does the validation of the data before it gets into the database. Most of the time you will find a table in the database and an relating model in your application.
Model stores the FRAMEWORK of the database. It’s a model after all!

## Slide 36: Model View Controller What it is, and why it is important
The view – a website we actually see as viewers. Inside the view you will find (most of the time) HTML with embedded Ruby code. It performs tasks related solely to the presentation of the data.

## Slide 37: Model View Controller What it is, and why it is important
The controller – small bits of code that gets information from the database and displays it to the view.
The controller knows how to process the data that comes from the model and how to pass it onto the view.

## Slide 38: Model View Controller
Model
  database tables (persistent data)
  session information (current system state data)
  rules governing transactions
View
  (X)HTML
  CSS style sheets
  server-side templates
Controller
  client-side scripting
  http request processing
  business logic/preprocessing

## Slide 39: It’s about Content Management Systems Systems that decouple architecture, data, and presentation so that each can be managed separately.
Architecture: a software framework for fast modular construction of a system
Data: information stored and organized independent of architecture; ability to change content without touching software
Presentation: an skin independent of architecture and data; ability to change skins

## Slide 40
http://www.indeed.com/jobtrends?q=java,c%2B%2B,"content+management"&relative=1&relative=1

## Slide 41: What does a CMS framework have?
Modularity
Security Model
Template/Skin/Theme also Language
User/Role Model
Media Management
Taxonomy
Workflow Model
Content Distribution Management
Front End / Back End Dashboard
Notes: Domains of a CMS
Within an enterprise:
  Used as a portal or Intranet
  Used to support e-commerce functionality
  Used to support workflow and document management
On the Internet
  Used to present dynamic information
  Used to build community

## Slide 42: Uses of a CMS
Blogs (and discussion forums)
News and magazine style publishing
Online books
Social Networks
Knowledge repository
Portal
Enterprise Document Management
Enterprise Workflow Management
E-Commerce site

## Slide 43: And this is one reason Why. . .
We are building a form of CMS using WordPress (Because it is easy and a good example of an MVC framework)
The message exchange environment we are using is a blog
  We could have chosen a Wiki or a discussion board (used to call them bulletin boards or threaded discussions)
  But we didn’t!!

## Slide 44
Data Centers
http://www.google.com/about/datacenters/gallery/#/tech
Tape Library
Cooling Pipes
Switching Center

## Slide 46: Memo 3 – What I want
I want you to find 3 white papers, read them, create a summary of the papers, criticize them for their strengths and weaknesses.
Find two repositories for articles about data center management (DCM)
  (a repository will be a website that aggregates articles, often from various vendors, about the topic at hand. The site may also offer other related topics)
Give me the urls for at least 2 repositories, along with a summary of the types of information that can be found on the site.
Give me an annotated list by providing the white paper title, a url to the paper, authors and publication date (if known). Then give me your summary. I want 3 of these.

## Slide 47: Annotated List -example

## Slide 48: Memo Structure – Memo 3
Standard memo header
Standard memo body
  Statement issue
  Recommendation
    This will be your annotated list
  Background/Justification
    This will be the list of repositories
There is NO required references section, since that information will be included in the annotated list.

## Slide 50
Not Taxidermy!
Taxonomy
Web Assign 3

## Slide 51: Taxonomy
What is it?
  “It is the practice and science of classification” (wikipedia)
In business it is a way of organizing data and information for later retrieval

## Slide 52: Types of Taxonomies
Controlled Vocabularies
Knowledge Organization Systems
And many more

## Slide 53: Controlled Vocabularies
A limited listing of terms
  Term Lists (drop down boxes)
  Synonym Rings
  Authority file (subordinates pointing to preferred term)
  Hierarchical Taxonomy

## Slide 54: Definitions: Specific Types
Term List
A simple list of terms (a pick list)
Usually alphabetical, but could be other logical order
Lacking synonyms, it is usually short for quick browse
Can appear in drop-down, scroll boxes
May be used for various metadata values (document types, format types, job functions, source, department, etc.)
Example term list :
  milk, bread, fruit, cheese, potato chips, butter

## Slide 55: Definitions: Specific Types
  Synonym Rings
  A controlled vocabulary with synonyms or near synonyms for each concept
  No designated “preferred” term: all terms point to each other, as a ring
  Usually just called a “controlled” vocabulary
Example of a synonym ring taxonomy

## Slide 56: Definitions: Specific Types
(Hierarchical) Taxonomy
A controlled vocabulary with broader term/narrower term relationships that include all terms to create a hierarchical structure
An emphasis on categories and classification
May or may not have associative term relationships or non-preferred terms

## Slide 57: Definitions: Specific Types
Taxonomy example 1 (hierarchical):

## Slide 58: Definitions: Specific Types
Taxonomy example 2:
:

## Slide 59: Topic and Type – Common Taxonomy structures
Topics: issues, specific headings
  Aliens, Life_Insurance, Sport
Type: collections of topics, major categories of material type
  News, Policy, Soccer

## Slide 60: Why do you need one? (a taxonomy, not a stuffed fish)
Taxonomies Drive Information Organization
  Taxonomies Drive the User Experience such as site navigation
Different people navigate according to their needs
Supports relating material
You may be able to offer the ability to follow by topic or type so people can subscribe to material that interests them
A key part of the process that needs to be taken into consideration when developing and implementing site taxonomy is the keyword research piece of search engine optimization (SEO)

## Slide 61: Website Assignment 3
Prepare your Controlled Vocabulary List of:
  Categories
    Major topics for material that can be found on the site
      Develop a list (controlled vocabulary) of anticipated topics for your site (minimum 5)
        These MUST conform to your context
      Develop a list of subcategories for ONE of your major categories (minimum 3 subcategories)
        Every post MUST be assigned at least ONE category
  Initial list of Tags (these do not need to be implemented for Web 3)
      (these tend not to be controlled) include in your doc to D2L (minimum 5 tags)
      These are the specific tidbits in your material
        Every post MUST be assigned at least ONE tag (and more if you implement a Tag Cloud widget)
On your site you must implement 1 and 2
NOTE: Your categories will not appear on the frontend until there is an article using the category – one reason we grade from the backend!!

## Slide 62: WordPress Tutorial Website Assignment 4
In WordPress, a "taxonomy" is a grouping mechanism for some posts or links or custom post types. WordPress has four built in default taxonomies:
‘Category ‘: taxonomy lets you group posts together by sorting them into various categories. Categories tend to be pre-defined and broad ranging.
‘Tag’: taxonomy is similar to categories, but more free form. Tags can be made up on the fly, by simply typing them in.
‘Link_category‘: taxonomy lets you categorize your links. These tend to be used only internally, for organizational reasons, and are not usually exposed on the site itself. They are handy for defining groups of links to be displayed in sidebars and the like.
‘Post Formats’: taxonomy was introduced in Wordpress 3.1 and is a piece of meta information that can be used by a theme to customize its presentation of a post. New post formats can't be created or added to the default existing ones

## Slide 63: WordPress Tutorial Website Assignment 4
You should have your context and your site and tonight we talked about your taxonomy
Think about your site – what do you want it to look like, what features do you want? Do this BEFORE you choose a Theme!!
Choose and install a Theme
  Be sure to get one you can customize! (be sure it has at least One customizable Menu)
  At least two columns (one for your articles, one for navigation)
Plugins
  Code that changes/improves/adds functionality to your site
  May or May Not come with a corresponding Widget
Widgets
  Code that changes the User experience (frontend functionality)
  Will not display until you add the widget to your theme

## Slide 64: Memo 2 Discussion – WAN Technologies
  What we should be doing to connect all of the regional offices/distribution centers and their stores to Hoffman Estates?
What are the issues?
What are the options?
Are there any constraints?
What are your recommendations?

## Slide 65: Data Centers
ECT 424
IS 324
Class 4

## Slide 66: Datacenters
What does a data center do?
What are the components of a datacenter?
What are some of the characteristics of a datacenter?
Example of a datacenter
Issues encountered when operating a datacenter
Current trends and potential solutions to the datacenter issues

## Slide 67: What does a Data Center do?
Video placeholder
What is a data center

## Slide 68: Logical DC Management Structure

## Slide 69: Logical Data Center Layout

## Slide 70: Physical Layout – Raised Floor
CRAC
Notes: PDU is a Power Distribution Unit is a device fitted with multiple outputs designed to distribute electric power, especially to racks of computers and networking equipment located within the data center.
A computer room air conditioning (CRAC) unit is a device that monitors and maintains the temperature, air distribution and humidity in a network room or data center. CRAC units are replacing air-conditioning units that were used in the past to cool data centers.

## Slide 71: Data Center Monitoring
Part of data center monitoring includes UPS Uninterruptable Power Supply, PDU (Power Distribution Unit), cooling system, security and environmental monitoring devices, and most of which go for Modbus RTU control, an automation control protocol.
But with the popularity of Ethernet, the management of control center goes for SNMP, a network management protocol. SNMP is generally used by IT management, and the advantage to adapt SNMP in automation is the real/write privilege and easy management.

## Slide 72
Need a device/software to work as a gateway between Modbus RTU and SNMP and brings customers benefit from an integrated solution composed of data center monitoring and IT management tools. This combination provides single view of each customer’s data center monitoring and IT management.
Notes: There is a Modbus program inside to map the Modbus ID and data to SNMP OID. The program identifies the data and alarm points that can be read from the device by a master through SNMP and connects each point to the Modbus address needed to access it. Users can read and write the Modbus message through the mapping mechanism for different applications.

## Slide 73: Data Center Monitoring
Data center monitoring has evolved from a simple alert system, a “nice-to-have” feature, into a critical element required for maximizing uptime and ensuring the increasingly complex environment within the data center is running effectively and efficiently.

## Slide 74: Data Center Monitoring
Modbus is a serial communications protocol (made by Schneider Electric in 1979) for use with its programmable logic controllers (PLCs).
It has since become the standard communication protocol, and it is now a commonly available means of connecting industrial electronic devices.
The main reasons for the use of Modbus in the industrial environment are:
developed with industrial applications in mind
openly published and royalty-free
easy to deploy and maintain
Modbus enables communication among many (approximately 240) devices connected to the same network.
Simple Network Management Protocol (SNMP) is an internet-standard protocol for managing devices on IP networks. Devices that typically support SNMP include routers, switches, servers, workstations, printers, modem racks and more. SNMP is used mostly in network management systems to monitor network-attached devices for conditions that warrant administrative attention.
Notes: PROFIBUS (Process Field Bus) is a standard for fieldbus communication in automation technology and was first promoted in 1989 used by Siemens. It should PROFIBUS is neither an openly published nor a royalty-free protocol, as opposed to MODBUS.
Stuxnet is a computer worm that was discovered in June 2010. It was designed to attack industrial Programmable Logic Controllers or PLCs.
Stuxnet installs malware into memory block of the PLC that monitors the Profibus messaging bus of the system.
For more information about Stuxnet, watch the PBS Nova series “Rise of the Hackers”

## Slide 75: Importance of Redundancy and Disaster Recovery
So why are disaster recovery plans critical elements for every business?
Disaster recovery and business continuity planning are processes that help organizations prepare for disruptive events—whether those event might include a hurricane or simply a power outage caused by a backhoe in the parking lot.
Gartner Group studies reveal that close to 40% of the businesses that undergo catastrophic data loss or data center downtime never recover from it.
Also, 2 out of every 5 businesses completely fail when faced with such catastrophes.
So essentially 40% of the group of Data Centers that failed cause the company to go belly up!

## Slide 76: What does Redundancy mean?

## Slide 77: Importance of Redundancy and Disaster Recovery
And why is redundancy chosen as a better recovery plan over other DR plans?
With redundant systems, the business critical programs and data are backed up securely on a data center . This ensures that primary data center disasters do not affect the data and the information can be completely restored, faster than from any other DR options.

## Slide 78: Redundancy and Disaster Recovery

## Slide 79: Whole Site Redundancy
Disaster Recovery (DR) and Continuous Operations (COOP)
Even in the case of disasters, secondary backup systems allow seamless transitions from the primary systems.
This guarantees less data center downtime and increases employees’ productivity by eliminating duplicate efforts towards recovering lost data.

## Slide 80: Importance of Redundancy and Disaster Recovery
So why don’t all businesses employ redundant data center systems ?
extra space requirements
the cost involved
maintenance of secondary IT systems
But.. what’s more costly?
The loss of your business or the protection of all of your data?

## Slide 81: Managing Risk
Higher costs!
Notes: In Managing Risk the quicker the recovery time the higher the cost.
Dual sites and global failover will COST an organization

## Slide 82: Risk Mitigation
Risk mitigation is simply taking steps to reduce adverse effects.
There are four types of risk mitigation strategies that hold unique to Business Continuity and Disaster Recovery.
Risk Acceptance: Risk acceptance does not reduce any effects however it is still considered a strategy.
Risk Avoidance: Risk avoidance is the opposite of risk acceptance. It is the action that avoids any exposure to the risk whatsoever. Risk avoidance is usually the most expensive of all risk mitigation options.
Risk Limitation: Risk limitation is the most common risk management strategy used by businesses. This strategy limits a company’s exposure by taking some action.
Risk Transference: Risk transference is the involvement of handing risk off to a willing third party. For example, numerous companies outsource certain operations such as customer service, payroll services, etc. This can be beneficial for a company if a transferred risk is not a core competency of that company. It can also be used so a company can focus more on their core competencies.
Notes: Risk Acceptance: I build a data center in California where it is prone to earthquakes
Risk Avoidance: I avoid California because of earthquakes and never build my data center there or move it from CA.
Risk Limitation: I build my data center in California, but below my data center I build infrastructure that can withstand an earthquake
Risk Transference: I outsource my data center risk to cloud service provider to handle because I am not an IT shop. I am a retailer

## Slide 83: Risk Mitigation
Risk Limitation example

## Slide 84: Power Source
Redundancy
Multiple power sources and generators provide for risk mitigation by limiting the risk

## Slide 85: Fire Suppression
Fire suppression systems limit the risk of a fire at the data center

## Slide 86: Cooling Options
Cooling systems offer protection for the data and the computing hardware

## Slide 87: Managing Temperature
Temperature sensing systems
offer data center monitoring alerts in case of overeating or malfunctioning equipment

## Slide 88: Power Usage Effectiveness (PUE)
PUE is a measure of how efficiently a computer data center uses energy; specifically, how much energy is used by the computing equipment (in contrast to cooling and other systems).
PUE | Level of Efficiency
3.0 | Very Inefficient
2.5 | Inefficient
2.0 | Average
1.5 | Efficient
1.2 | Very Efficient
PUE calculator: http://www.42u.com/measurement/pue-dcie.htm

## Slide 89: Data Center Tier Classification
The Tier classifications were created to consistently describe the site-level infrastructure required to sustain data center operations, not the characteristics of individual systems or sub-systems.
The requirements were established by the Uptime Institute, Inc. (a think tank and professional-services organization based in New Mexico) and are necessarily and intentionally very broad to allow innovation in achieving the desired level of site infrastructure performance, or uptime.
The individual Tiers represent categories of site infrastructure topology that address increasingly sophisticated operating concepts, leading to increased site infrastructure availability.

## Slide 90: Data Centers Tiers
Tier I: Basic Site Infrastructure
Non-Redundant Capacity Components and Distribution paths.
Any Capacity Component or Distribution Path failure will impact the computer systems.
Planned work will require most or all of the systems to be shutdown.
Tier II: Redundant Capacity Components Site Infrastructure
  Redundant Capacity Components, but single Non-Redundant Distribution Paths serving the site’s computer equipment.
  Redundant UPS modules and engine generators are required.
  A distribution path failure will cause the computer equipment to shut down.

## Slide 91: Data Centers Tiers (cont)
Tier III: Concurrently Maintainable Site Infrastructure
  Redundant capacity components and multiple distribution paths serving the site’s computer equipment. Generally, only one distribution path serves the computer equipment at any time.
  Each and every capacity component and element of the distribution paths can be removed from service on a planned basis without causing any of the computer equipment to be shut down.
Tier IV: Fault Tolerant Site Infrastructure
  Redundant capacity systems and multiple distribution paths simultaneously serving the site’s computer equipment
  The site is not susceptible to disruption of service from a single unplanned worse-case event.
  Infrastructure maintenance may be performed by using redundant capacity components and distribution paths to safely work on the remaining equipment.

## Slide 93: Virtual tour of a Data Center
Video placeholder
Virtual data center Tour

## Slide 94: Trends & Issues - Increasing Density
Density of computing equipment has been increasing (i.e., smaller circuits, multiple cores, blade servers, etc.)
  Old server: 3-4 U, 100 W [each U=1.75” or 44.5mm]
  New server: 1 U, 250-500 W
Decade ago 500-1000 W per rack was typical
Currently, 42 U rack can easily draw 10-20 kW

## Slide 95: Trends & Issues - Increasing Heat
A Rack drawing 10-20 kW can generate 30,000-70,000 British Thermal Units (BTUs) of heat
  1 BTU is the energy required to heat 1 pound of water 1 degree
A chiller pumps coolant to multiple computer room air conditioners (CRACs)
Frequently, the capacity of a cooling device is measured in terms of tons. 1 ton of cooling can dissipate ~12,000 BTUs of heat

## Slide 96: Trends & Issues - Requirements
Every kW used by a server requires another kW for cooling, airflow, lighting
Cooling requirements are approximately 3-6 tons per rack
Source: Intel Corporation, 2010

## Slide 97: Trends & Issues - Major Cost
Power and cooling requirement can be #1 and #2 cost for operating a data center
"In some cases, power costs account for 40-50% of the total data center operation budget" (Intel, 2010)

## Slide 98: Datacenter Design - Classic
ANSI\TIA-942 describes classic design
Specification describes basic hot aisle\cold aisle configuration
  Server fronts face each other, while backends vent to create a common hot aisle
  CRAC units intake hot air (along top of perimeter) and returns cool air (bottom of raised floor)
  Raised floor acts as plenum containing cold air which is forced up through floor openings

## Slide 99: Datacenter Design - Classic
Thermal Top View - Hot & Cold Aisles
Cold
Warm
How cold should we keep the data center?
60º F
72º F
80º F
60º F
68º F
86º F
95º F
77º F

## Slide 100: Traditional Raised Floor

## Slide 101: Datacenter Design - Classic Issues
Classic datacenter design highly effective when properly implemented
Biggest challenge is proper path allowing cold air to reach all devices (without prematurely mixing)
  Cold air may not reach devices at the very top of the racks
  The raised floor must be sufficiently high to accommodate cabling while providing sufficient plenum and avoid disrupting airflow
Even proper classic design may provide insufficient cooling for some high-density devices

## Slide 102: Datacenter Design - Alternate Approach
Some debate exists around cooling systems without raised floors
Overhead cable trays and duct work are used in some facilities (especially smaller data centers), but management of air flow is extremely difficult in such a system
  Depends significantly on fans to direct cool air down
If classic design cannot remove sufficient heat, an overhead installation is unlikely to provide better results, and a local rack cooling solution may be necessary for the specific hot spot.

## Slide 103: In-line cooling

## Slide 104: Another Alternative Approach

## Slide 106: Cooling Issues
Ensure optimal airflow & velocity
  Adequate airflow
  Additional blowers
  Adequate CRAC (computer room air conditioning) capacities
  Appropriately spaced
  Add blocking panels
  Remove any obstacles (e.g., cable management)
  Space configuration of CRACs\racks
  Well-sealed floor panels & unwanted openings
  Correct orientation of racks
  Sufficiently large cold air return path (i.e., plenum)

## Slide 107: Data Center Cooling Issues
Video placeholder
Cooling a data center

## Slide 108: Containerized Data Centers
http://www.youtube.com/watch?v=M-3bdWCOSMQ

## Slide 109: Virtualization: The Foundation for a Greener Datacenter
Today: 70 million virtual desktops

## Slide 110: Market Perspective
  Datacenters becoming exponentially more dense
  Datacenter refresh driven by power/cooling/space
  Energy cost is consuming more budget and is harder to ignore
  The divide between IT and facilities is narrowing
  Environmental impact, govt awareness and corporate initiatives on the rise
kW per Rack
Cost to Power Server Will Soon Exceed Purchase Price
Notes: In terms of what's happening in the market, the first thing is that datacenters are becoming a lot more dense. The kilowatts per rack has gone up quite dramatically in recent years and the trend is continuing. As you move to blade servers, you have more dense form factors that consume more power. One customer, an executive, went down to the datacenter because he heard from his IT department that it was full. But, it turns out, the datacenter is only half physically full (from a facility and space standpoint), but has no more electrical power.
This risk of customers running out of power in the datacenter is real. In fact, Gartner said that 50% of companies would face this situation by this year. Many companies are making a datacenter refresh decision based solely on power/ cooling and space considerations.
In terms of energy, the first thing you hear today from customers is about reducing costs. Traditionally, we've been able to ignore costs on energy for some time because Facilities was paying the bill (IT wasn't accountable for the energy bill). But in the next couple of years, this is going to change. There's going to be accountability, and as a result, there will be a more holistic view of the costs of deploying a new application. This will include calculating in the facilities cost, which can be four or five times the cost of the IT infrastructure.
Recently, there's a lot more awareness of what's happening in the datacenter from an environmental perspective. Governments are starting to get involved in the regulation of carbon emissions and so there's a big risk that companies, if they don't do this proactively, will be forced to do it.
Perhaps more interestingly, there's an opportunity to leverage a Green Datacenter for differentiation purposes. Companies that proactively do this not only reap financial advantages, but also corporate goodwill, as responsible and progressive companies that will attract the best talent available.

## Slide 111: “We need more power captain!”

## Slide 112: Cost Savings Potential
“Power consumption per server in a data center was recently reported to have passed the cost of the server itself during its lifetime – typically three years. Data centers consume 1.2 percent of global power – 2 percent in the U.S. – and there are only approximately 13,000 of them. The number of data centers being built around the world is expected to double by 2016.”
http://www.triplepundit.com/2013/02/sustainable-data-center-future/

## Slide 113
BEFORE VMware
  1,000
  Direct attach
  3000 cables/ports
  200 racks
  400 power whips
  Planning expansion
  Servers
  Storage
  Network
  Facilities
Consolidating Server, Storage, Network & Facilities
VMware consolidates servers, storage and networking infrastructure to safely achieve higher utilization
AFTER VMware
  80
  Tiered SAN and NAS
  300 cables/ports
  10 racks
  20 power whip
  Defer/avoid $1k per sqft expansion cost
Source: Actual customer data
http://www.slideshare.net/datacenters/vm-ware
Notes: 113
Let’s look at a real life customer example:
In 2003, the IT service arm of a leading North American energy company started a consolidation project, using VMware Infrastructure as the primary vehicle for achieving this.
The customer had 1000+ x86 industry standard servers,
- >100 SQL servers
- Lotus notes mail servers
- Citrix servers
- Lots of Line of Business applications
Using VMware as the primary system infrastructure strategy capability, they ended with 80, 8-socket capable IBM x440 servers, a 12 to 1 reduction.
What is interesting is how consolidation has affected their infrastructure beyond the reduced server count.
Virtualization based consolidation not only affects the servers that are consolidated, but raises the quality and service levels of everything around it, including storage, network and facilities. Specifically in this project.
Consolidation of Storage: moved from silo’d direct attached storage to highly available Tiered Storage, specifically a Hitachi SAN
A 10:1 consolidation of network ports, or in the words of the customer “from spaghetti wiring to world class datacenter.”
Dramatic power savings and cost avoidance on the facilities and hardware infrastructure.
The main point is at the bottom: the real estate piece. In the U.S. the average cost of building out new space is $1,000 per square foot. So these can be hundreds of millions of dollars that you're spending in new space. The value of deferring or altogether avoiding that expense garners executive attention. It is a real and tangible savings.

## Slide 114
Improved Cable Management

## Slide 115: Right-Size IT Infrastructure
Consolidate…
…entire farms of servers and storage…
…and dynamically optimize to only consume the resources you need!
HW
HW
HW
HW
HW
HW
HW
HW
HW
HW
HW
HW
HW
HW
HW
HW
HW
HW
http://www.slideshare.net/datacenters/vm-ware
Notes: Your IT server load is dynamic. It's always changing based on market or corporate situations, whether through acquisition or growth.
As a result, it's really about continuous right-sizing IT infrastructure, server, storage and networking. We're doing this across the datacenter and doing it in real time. We want to dynamically match the compute requirements to the energy supply. You only want to be using as much energy as you need to meet service levels that your business and your users require.

## Slide 116
Let’s you move live, running virtual machines from one host to another while maintaining continuous service availability.
http://www.slideshare.net/datacenters/vm-ware

## Slide 117: Storage approaches

## Slide 118: Network Attached Storage
Server with lots of HD space
Uses existing network infrastructure

## Slide 119: Storage Area Network
Fiber channel
Windows
Linux
Unix

## Slide 120: SAN vs NAS
Notes: NAS vs SAN
NAS provides both storage and a file system. This is often contrasted with SAN (Storage Area Network), which provides only block-based storage and leaves file system concerns on the "client" side. SAN protocols are SCSI, Fibre Channel, iSCSI, ATA over Ethernet (AoE), or HyperSCSI.
Despite their differences, SAN and NAS are not mutually exclusive, and may be combined as a SAN-NAS hybrid, offering both file-level protocols (NAS) and block-level protocols (SAN) from the same system. An example of this is Openfiler, a free software product running on Linux based systems.

## Slide 121: Data Center Storage

## Slide 122: Client VDI

## Slide 123: Additional VDI Background
Persistent
  Each user gets their own image
  User settings saved, personalizable, more readily accepted
  Requires substantially more storage and image management
Non-persistent (golden image)
  One image per user group, fresh every time
  No personalization
  Requires much less storage and image management, more secure
Notes: With one-to-one persistent VDI, each desktop runs from a separate disk image. The user's settings are saved and appear each time at login. These types of desktops allow for more personalization, but they require more storage and backup than nonpersistent desktops.
Advantages: Customization and familiarity
Cons: Storage requirements and image management
When users access a nonpersistent desktop, none of their settings or data is saved once they log out. At the end of a session, the desktop reverts back to its original state and the user receives a fresh image the next time he logs in.
Advantages: Image manageability, greater security, less storage
Cons: Less personalization, application flexibility

## Slide 124: Client side
Thick client
  Goes well with persistent images
  User can work even if there is no network available
  Less benefits, runs thin client software to create VDI
Thin client
  Not much processing capability, goes well with non-persistent images
  Requires access to network to get work done
  Less expensive, centralized management
Zero client
  Even less processing capability (essentially a monitor with keyboard, pointing device and a NIC)
  Less expensive still, proprietary

## Slide 125: VDI vs DaaS
Same types of benefits
  Simplified desktop management, less hardware, increased flexibility, data control
  DaaS requires not just network access but Internet access to work
    PROS - doesn’t require the backend servers and virtualization (managed by the provider– servers, resource provisioning, load balancing)
    Good possible solution if you have no virtualization experience
    CONS - trust/security – lack of control, connectivity, reliability, who owns the data stored at the provider sites? (and where are those sites anyway?)
Notes: DaaS -Desktop as a Service

## Slide 126: Readings from This Week
Data Center Issues
  What did you learn?
  Did you agree with everything?
What other issues do you think are important?
Costs
  Anything missed?

## Slide 127: Readings for Next Module
Cloud Computing
What is needed for the Cloud
Optional (but highly recommended). Retail Use of the Cloud from ARTS (Association for Retail technology Standards

## Slide 128: Google Data Center tour
Video placeholder
Google data center